## Main Survey Page
7-11 Lighting Retrofit Survey Data & Order Form
Instructions:
Please research the ordinance restrictions before going to the site. See section below to insert your ordinance restrictions.
collect what information you can from the general manager on site.
See the "outdoor survey" tab below and make sure that is filled out as well.
Return the 2 Survey sheets as an "Excel" file, marked up site sketch, and any other photos and sketches to the general contractor you are working for.
Store Number | {Store_Number}
Note: If you enter data into a BLUE cell on the survey form, this data will directly transpose on to the order form. All data entered into yellow cells will have to be manually adjusted per lighting designs and assesments to enter the correct quantity in the order form
City | {City}
State | {State}
Street Address | {Street_Address}
Store Manager | {Store_Manager}
Store manager Phone | {Store_Manager_Phone}
Store Manager Email | {Store_Manager_Email}
Surveyor Name | {Surveyor_Name}
Surveyor Company | {Surveyor_Company}
Surveyor Phone | {Surveyor_Phone}
Surveyor Email | {Surveyor_Email}
Date Surveyed | {Date_Surveyed}
Storage Recommendation (Can the store receive and store 8-15 pallets that double stack or do installers need to arrange a storage container): |  | Fixtures must be secured and under covered storage
Store Manager's Lighting Concerns: | {Store_Manager_s_Lighting_Conce}
Answer These 3 Questions Before Proceeding with the Survey
Is any of the outdoor lighting already LED? (Gas Canopy, pole lights, wall packs) | {Is_any_of_the_outdoor_lighting} | If "NO" then create a sketch of the site. No need to collect photometric measurements. If "YES", then conduct a full photometric survey of the site taking measurements in a 10ft x 10ft grid
Is 100% of the outdoor lighting already LED? |  | If "NO" then conduct full lighting suvey of site (Indoor, Outdoor, Refrigerated). If "YES", go to next question.
Are 75% or more of the vault lights LED? (these are the refrigerated display lights) |  | If "NO" then conduct full lighting suvey of site (Indoor, Outdoor, Refrigerated). If you answered "YES" to all 3 questions, do not survey this site further
Outdoor Lighting - Ordinance Restrictions
|  | Minimum light level | {Minimum_Light_Level} | Please be specific about any ordinance restrictions and do not overstate or assume you know the spec if you are not absolutely certain. Minor incorrect assumptions and variations here will impact 7-11's lighting dramatically and/or incure much higher costs for them. Please be very specific if the ordinance has a requirement that light not trespass beyond certain levels past the property line. This will greatly affect how we design the lighting.
|  | Maximum light level | {Maximum_Light_Level}
|  | Minimum average | {Minimum_Average}
|  | Maximum average | {Maximum_Average}
|  | Light levels at property line | {Light_levels_at_property_line}
|  | Other restrictions | {Other_Restrictions}
Outdoor Wattage | #VALUE!
Indoor Wattage | #REF!
Total Existing Wattage | #VALUE!

## Indoor Survey
Indoor Lighting Survey Sheet
Insert information in the yellow cells below
Use a default ballast factor of "1" if you cannot determine the ballast factor.
Sales Floor Ceiling Sketch
Draw a sketch of the ceiling plan of the sales floor as it stands now. Make sure to capture every ceiling tile, light fixture, vent, sprinkler, camera, and any other item mounted on the ceiling.
NOTE: specifically call out any fixtures that are drywall mounted or surface mounted
NOTE: Bathrooms, offices, storage, and walk in coolers are NOT the sales floor
| YES / NO | How many | Fixture Dimensions | LED or Florescent (T8 or T5) | Wattage | Ballast Factor | Total Watts
Does the sales floor have recessed light fixtures | {Does_the_sales_floor_have_rece} | {How_many_recessed_fixtures} | {Fixture_Dimensions_of_recessed} | {Spec_of_recessed_fixtures} | {Wattage_of_recessed_fixtures} | {Ballast_Factor_of_recessed_fix} | #VALUE!
Does the sales floor have surface mounted light fixtures | {Does_the_sales_floor_have_surf} | {How_many_surface_mounted_fixtu} | {Fixture_Dimensions_of_surface_} | {Spec_of_surface_mounted_fixtur} | {Wattage_of_surface_mounted_fix} | {Ballast_Factor_of_surface_moun} | #VALUE!
Does the sales floor have suspended Light fixtures | {Does_the_sales_floor_have_susp} | {How_many_suspended_fixtures} | {Fixture_Dimensions_of_suspende} | {Spec_of_surface_suspended_fixt} | {Wattage_of_suspended_fixtures} | {Ballast_Factor_of_suspended_fi} | #VALUE!
LED Tube Replacements
Count light fixtures in all the areas EXCEPT the sales floor (This includes the offices, storage rooms, bathrooms, closets. You will replace the florescent tube in these fixtures with an LED Tube.
Only count light fixtures that currently have florescent tubes.
Do not count light fixtures that have LED tubes already
Do not count fixtures in the walk in cooler yet
Enter your counts below
Fixtures with:
2 Foot Tubes |  |  | Wattage per tube | Ballast Factor | T8 or T5 | Total Watts
Quantity of fixtures that have 2 tubes per fixture | {x2_ft_2_tubes_qty} |  | {x2_ft_2_tubes_wattage} | {x2_ft_2_tubes_ballast} | {x2_ft_2_tubes_spec} | #VALUE!
Quantity of fixtures that have 1 tube per fixture | {x2_ft_1_tube_qty} |  | {x2_ft_1_tube_wattage} | {x2_ft_1_tube_ballast} | {x2_ft_1_tubes_spec} | #VALUE!
3 Foot Tubes
Quantity of fixtures that have 2 tubes per fixture | {x3_ft_2_tubes_qty} |  | {x3_ft_2_tubes_wattage} | {x3_ft_2_tubes_ballast} | {x3_ft_2_tubes_spec} | #VALUE!
Quantity of fixtures that have 1 tube per fixture | {x3_ft_1_tube_qty} |  | {x3_ft_1_tube_wattage} | {x3_ft_1_tube_ballast} | {x3_ft_1_tubes_spec} | #VALUE!
4 Foot Tubes
Quantity of fixtures that have 2 tubes per fixture | {x4_ft_2_tubes_qty} |  | {x4_ft_2_tubes_wattage} | {x4_ft_2_tubes_ballast} | {x4_ft_2_tubes_spec} | #VALUE!
Quantity of fixtures that have 1 tube per fixture | {x4_ft_1_tube_qty} |  | {x4_ft_1_tube_wattage} | {x4_ft_1_tube_ballast} | {x4_ft_1_tubes_spec} | #VALUE!
6 Foot Tubes
Quantity of fixtures that have 2 tubes per fixture | {x6_ft_2_tubes_qty} |  | {x6_ft_2_tubes_wattage} | {x6_ft_2_tubes_ballast} | {x6_ft_2_tubes_spec} | #VALUE!
Quantity of fixtures that have 1 tube per fixture | {x6_ft_1_tube_qty} |  | {x6_ft_1_tube_wattage} | {x6_ft_1_tube_ballast} | {x6_ft_1_tubes_spec} | #VALUE!
8 Foot Tubes
Quantity of fixtures that have 2 tubes per fixture | {x8_ft_2_tubes_qty} |  | {x8_ft_2_tubes_wattage} | {x8_ft_2_tubes_ballast} | {x8_ft_2_tubes_spec} | #VALUE!
Quantity of fixtures that have 1 tube per fixture | {x8_ft_1_tube_qty} |  | {x8_ft_1_tube_wattage} | {x8_ft_1_tube_ballast} | {x8_ft_1_tubes_spec} | #VALUE!
Walk in Cooler Lighting Replacements
Count the number of replacement lights needed in the walk in coolers.
Choose the correct of 3 options below
There are no lights currently, but it could fit this many 4ft fixtures | {There_are_no_lights_currently_}
|  |  | Wattage per lamp | Ballast Factor | T8 or T5 | Total Watts
There are this many jelly jar type lights (single screw in bulb) | {There_are_this_many_jelly_jar_} |  | {Wattage_per_lamp_of_jelly_jar_} |  |  | #VALUE!
There are this many vapor tight fixtures that need LED tube replacements
Quantity of fixtures that have 2 tubes per fixture | {vapor_2_tube_qty} |  | {vapor_2_tube_wattage} | {vapor_2_tube_ballast} | {vapor_2_tube_spec} | #VALUE!
Quantity of fixtures that have 1 tube per fixture | {vapor_1_tube_qty} |  | {vapor_1_tube_wattage} | {vapor_1_tube_ballast} | {vapor_1_tube_spec} | #VALUE!
Recessed Can Replacement Lighting
Choose the number of cans that fit the description
Quantity of Cans with an inside diameter of: |  |  | Wattage per Lamp |  |  | Total Watts
4 Inches | {qty_4} |  | {watt_4} |  |  | #VALUE!
6 Inches | {qty_6} |  | {watt_6} |  |  | #VALUE!
8 inches | {qty_8} |  | {watt_8} |  |  | #VALUE!
10 inches | {qty_10} |  | {watt_10} |  |  | #VALUE!
Other:___________{Other_Can_inside_diameter}_____ | {Quantity_of_other_diameter} |  | {Wattage_per_Lamp_of_other_diam} |  |  | #VALUE!
What is the mounting height | {What_is_the_mounting_height}
Cooler Door Lighting (Vault Doors or Stand up Coolers)
Determine the number of LED lights that will be needed to retrofit the cooler doors to LED |  |  | Total quantity of Existing Lamps | Wattage per Lamp | Ballast Factor | T8 or T5..or LED | Total Watts
Do this by counting the number of door frames that are not LED by their frame size |  |  | {Total_quantity_of_Existing_Lam(1)} | {Wattage_per_Lamp_cooler_(1)} | {Ballast_Factor_cooler(1)} | {Spec_cooler(1)} | #VALUE!
Choose what size light bars you need to replace the florescent lamps |  |  | {Total_quantity_of_Existing_Lam(2)} | {Wattage_per_Lamp_cooler_(2)} | {Ballast_Factor_cooler(2)} | {Spec_cooler(2)} | #VALUE!
NOTE: Do not count lights are already LED |  |  | {Total_quantity_of_Existing_Lam(3)} | {Wattage_per_Lamp_cooler_(3)} | {Ballast_Factor_cooler(3)} | {Spec_cooler(3)} | #VALUE!
Products to Order
Frame Size (# of doors) | Quantity of Frames | Size 67, 60, 48 in | # of ballasts per frame | Left Bars | Center Bars | Right Bars | Ballasts
1 | {x1_qty} | {x1_size} | {x1_ballasts} | {x1_qty} | 0 | {x1_qty} | #VALUE!
2 | {x2_qty} | {x2_size} | {x2_ballasts} | {x2_qty} | #VALUE! | {x2_qty} | #VALUE!
3 | {x3_qty} | {x3_size} | {x3_ballasts} | {x3_qty} | #VALUE! | {x3_qty} | #VALUE!
4 | {x4_qty} | {x4_size} | {x4_ballasts} | {x4_qty} | #VALUE! | {x4_qty} | #VALUE!
5 | {x5_qty} | {x5_size} | {x5_ballasts} | {x5_qty} | #VALUE! | {x5_qty} | #VALUE!
6 | {x6_qty} | {x6_size} | {x6_ballasts} | {x6_qty} | #VALUE! | {x6_qty} | #VALUE!
7 | {x7_qty} | {x7_size} | {x7_ballasts} | {x7_qty} | #VALUE! | {x7_qty} | #VALUE!
8 | {x8_qty} | {x8_size} | {x8_ballasts} | {x8_qty} | #VALUE! | {x8_qty} | #VALUE!
9 | {x9_qty} | {x9_size} | {x9_ballasts} | {x9_qty} | #VALUE! | {x9_qty} | #VALUE!
10 | {x10_qty} | {x10_size} | {x10_ballasts} | {x10_qty} | #VALUE! | {x10_qty} | #VALUE!
11 | {x11_qty} | {x11_size} | {x11_ballasts} | {x11_qty} | #VALUE! | {x11_qty} | #VALUE!
12 | {x12_qty} | {x12_size} | {x12_ballasts} | {x12_qty} | #VALUE! | {x12_qty} | #VALUE!
| {blank_1_qty} | {blank_1_size} | {blank_1_ballasts} | {blank_1_qty} | #VALUE! | {blank_1_qty} | #VALUE!
| {blank_2_qty} | {blank_2_size} | {blank_2_ballasts} | {blank_2_qty} | #VALUE! | {blank_2_qty} | #VALUE!
| {blank_3_qty} | {blank_3_size} | {blank_3_ballasts} | {blank_3_qty} | #VALUE! | {blank_3_qty} | #VALUE!
| {blank_4_qty} | {blank_4_size} | {blank_4_ballasts} | {blank_4_qty} | #VALUE! | {blank_4_qty} | #VALUE!
|  | Totals: | 48" Bars | 0 | 0 | 0 | #VALUE!
|  |  | 60" Bars | 0 | 0 | 0 | Replacement
|  |  | 67" Bars | 0 | 0 | 0 | Ballasts
Donut Cases |  |  | Total quantity of Existing Lamps | Wattage per Lamp | Ballast Factor | T8 or T5 | Total Watts
How many donut cases are in the store | {How_many_donut_cases_are_in_th} |  | {Total_quantity_of_Exist_donut} | {Wattage_per_Lamp_donut} | {Ballast_Factor_donut} | {Spec_donut} | #VALUE!
Sandwich Case
Count the length and number of lights required to retrofit the standup sandwich case. Do not count the center island cases or the end cap cases.
NOTE: florescent tubes mounted side by side will receive a single fixture replacement. Count them as one, not two.
NOTE: Use the picture below to understand the terminology for these lights and their locations
NOTE: Replace lights only where lights are currently mounted
NOTE: We do not retrofit cases that are endcaps or islands. Only retrofit cases mounted against a wall
How many canopy lights are required by size |  |  |  | Wattage per Lamp | Ballast Factor | T8 or T5 | Total Watts
1 Foot | {qty_1_ft_canopy} |  |  | {watt_1_ft_canopy} | {ballast_1_ft_canopy} | {spec_1_ft_canopy} | #VALUE!
2 Foot | {qty_2_ft_canopy} |  |  | {watt_2_ft_canopy} | {ballast_2_ft_canopy} | {spec_2_ft_canopy} | #VALUE!
3 Foot | {qty_3_ft_canopy} |  |  | {watt_3_ft_canopy} | {ballast_3_ft_canopy} | {spec_3_ft_canopy} | #VALUE!
4 Foot | {qty_4_ft_canopy} |  |  | {watt_4_ft_canopy} | {ballast_4_ft_canopy} | {spec_4_ft_canopy} | #VALUE!
How many undershelf lights are required by size |  |  |  | Wattage per Lamp | Ballast Factor | T8 or T5 | Total Watts
1 Foot | {qty_1_ft_Undershelf} |  |  | {watt_1_ft_Undershelf} | {ballast_1_ft_undershelf} | {spec_1_ft_undershelf} | #VALUE!
2 Foot | {qty_2_ft_undershelf} |  |  | {watt_2_ft_undershelf} | {ballast_2_ft_undershelf} | {spec_2_ft_undershelf} | #VALUE!
3 Foot | {qty_3_ft_undershelf} |  |  | {watt_3_ft_undershelf} | {ballast_3_ft_undershelf} | {spec_3_ft_undershelf} | #VALUE!
4 Foot | {qty_4_ft_undershelf} |  |  | {watt_4_ft_undershelf} | {ballast_4_ft_undershelf} | {spec_4_ft_undershelf} | #VALUE!
Big Gulp Machine
What is the quantity, length, and type of the florescent tube in this machine | Quantity | Type (T5, T8, LED) |  | Wattage per Lamp | Ballast Factor | T8 or T5 | Total Watts
2 Foot Tube | {qty_2_foot_tube} | {type_2_foot_tube} |  | {watt_2_foot_tube} | {ballast_2_foot_tube} | {spec_2_foot_tube} | #VALUE!
3 foot Tube | {qty_3_foot_tube} | {type_3_foot_tube} |  | {watt_3_foot_tube} | {ballast_3_foot_tube} | {spec_3_foot_tube} | #VALUE!
4 foot tube | {qty_4_foot_tube} | {type_4_foot_tube} |  | {watt_4_foot_tube} | {ballast_4_foot_tube} | {spec_4_foot_tube} | #VALUE!
Slurpee Machine
If the Lighting in the slurpee machine is already LED, then do nothing in this section |  |  | quantity of lamps | Wattage per Lamp | Ballast Factor | T8 or T5 | Total Watts
| Number of 2 barrell machines that do not have LED lights | {Number_of_2_barrell_machines_t} | {Quantity_of_lamps_barrell} | {Wattage_per_Lamp_barrell} | {Ballast_Factor_barrell} | {Spec_barrell} | #VALUE!
| Number of 4 barrell machines that do not have LED lights | {Number_of_4_barrell_machines_t} | {Quantity_of_lamps_barrell4} | {Wattage_per_Lamp_barrell4} | {Ballast_Factor_barrell4} | {Spec_barrell4} | #VALUE!
Cappuccino Machine
Replace lighting in this machine per the instructions below for sign lighting
Indoor Sign Lighting
Replace any other lights for signs on the interior of the store using the instructions below
NOTE: Do not count signs that are already LED
NOTE: give all dimensions in inches
NOTE: Order all sign parts separately from Harbinger Sign Distributor. 7-11 will not order them for you.
Name of sign | Length | Depth | Height | Total quantity of Existing Lamps | Wattage per Lamp | Ballast Factor | T8 or T5 | Total Watts
{Name_of_sign(1)} | {Length_indoor_sign_light(1)} | {Depth(1)} | {Height(1)} | {Total_quantity_of_Exist_indoor(1)} | {Wattage_per_Lamp_indoor(1)} | {Ballast_Factor_indoor(1)} | {Spec_indoor(1)} | #VALUE!
{Name_of_sign(2)} | {Length_indoor_sign_light(2)} | {Depth(2)} | {Height(2)} | {Total_quantity_of_Exist_indoor(2)} | {Wattage_per_Lamp_indoor(2)} | {Ballast_Factor_indoor(2)} | {Spec_indoor(2)} | #VALUE!
{Name_of_sign(3)} | {Length_indoor_sign_light(3)} | {Depth(3)} | {Height(3)} | {Total_quantity_of_Exist_indoor(3)} | {Wattage_per_Lamp_indoor(3)} | {Ballast_Factor_indoor(3)} | {Spec_indoor(3)} | #VALUE!
{Name_of_sign(4)} | {Length_indoor_sign_light(4)} | {Depth(4)} | {Height(4)} | {Total_quantity_of_Exist_indoor(4)} | {Wattage_per_Lamp_indoor(4)} | {Ballast_Factor_indoor(4)} | {Spec_indoor(4)} | #VALUE!
Other Fixtures
Describe any other fixtures or lamps required here that have not been captured above | Quantity of fixtures | Total quantity of Existing Lamps/fixture | Wattage per Lamp | Ballast Factor | Lamp Type | Total Watts
{Describe_any_other_fixtures_or(1)} | {Quantity_of_fixtures_other(1)} | {Total_quantity_of_Exist_other(1)} | {Wattage_per_Lamp_other(1)} | {Ballast_Factor_other(1)} | {Lamp_Type_other(1)} | #VALUE!
{Describe_any_other_fixtures_or(2)} | {Quantity_of_fixtures_other(2)} | {Total_quantity_of_Exist_other(2)} | {Wattage_per_Lamp_other(2)} | {Ballast_Factor_other(2)} | {Lamp_Type_other(2)} | #VALUE!
{Describe_any_other_fixtures_or(3)} | {Quantity_of_fixtures_other(3)} | {Total_quantity_of_Exist_other(3)} | {Wattage_per_Lamp_other(3)} | {Ballast_Factor_other(3)} | {Lamp_Type_other(3)} | #VALUE!
These numbers are the numbers of doors in each frame. Enter your quantity of how many frames by type that you have. Use the extra fields at the bottom if you need more rows . Only enter the # of doors in the frame to make it calculate correctly.

## Indoor Lighting Order Form
Indoor Lighting Order Form
Recessed Light Fixtures | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| Description | Catalog Logic | GE Part # | Oracle # | GBID #
| 2x2 | BR220A3AVWHTE | 94993 | 3301660 | 25649552
| 2x2 w/ Battery Backup | BR220A3AVWHTEEL | 95039 | 3301661 | 25649553
| 2x4 | BR240A3AVWHTE | 95051 | 3301662 | 25649554
| 2x4 w/ Battery Backup | BR240A3AVWHTEEL | 95064 | 3301663 | 25649555
| 1x4 | BR140A3AVWHTE | 95079 | 3301664 | 25649550
| 1x4 w/ Battery Backup | BR140A3AVWHTEEL | 95091 | 3301665 | 25649551
Surface Mounted Light Fixtures | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| Recessed Backlit 1x4 4000K | BT140A3AVWHTE | 27012
| Recessed Backlit 1x4 4000K w/ BB | BT140A3AVWHTEEL | 27039
| Recessed Backlit 2x2 4000K | BT220A3AVWHTE | 26790
| Recessed Backlit 2x2 4000K w/ BB | BT220A3AVWHTEEL | 26835
| Recessed Backlit 2x4 4000K | BT240A3AVWHTE | 26843
| Recessed Backlit 2x4 4000K w/ BB | BT240A3AVWHTEEL | 26845
CREE Surface Mounted Light Fixtures | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| Surface Mount 1x4 Standard Fixture |  | N/A | 3301333 | 25618093
| Surface Mount 1x4 Emergency Fixture |  | N/A | 3301382 | 25618094
| End Caps (2 pk) - use at end of rows |  | N/A | 3301338 | 25618096
| Joiner Plates - use between each fixture in row |  | N/A | 3301337 | 25618097
| Housing/Surface Mount Kit |  | N/A | 3301332 | 25618095 | 0
| Junction Boxes (5 pack) |  | N/A | 3301336 | 25495560 | 0
Suspended Fixtures | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| Description | Catalog Logic | GE Part # | Oracle # | GBID #
| 1x4 Fixture | ISC40A3MVWHTEWP | 93030583
| 1x4 Battery Backup | ISC40A3MVWHTEELWP | 93037636
| 1x8 Fixture (Single Pack) | ISC80A3MVWHTESWP | 93036291
| 1x8 Battery Backup (Single Pack) | ISC80A3MVWHTEELSWP | 93040215
| IS-Starter Kits | IS-STARTERKIT-10-ROWS | 34221 | 3301467 | 25652557
| LuminationTM LWR Mounting Kit | KIT-MTG-LWR | 93026985
| Set of 10’mounting cables | Suspended Kits - Option 1 | 93035285
Recessed Cans | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
{qty_4}
| LED Par 30 (Damp rated) | LED12DP30RW83040 | 42131
| LED Par 38 (Wet rated) | LED18D38OW384040 | 93172 |  |  | #VALUE!
Walk-In Cooler Lighting | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
L | [5 empty] | {There_are_this_many_jelly_jar_}
{There_are_this_many_jelly_jar_}
| Damp-rated LED A- Line Lamp | LED11DA19/827 | 11328 | 3301710 | 25652551
| Light Bulb Cage/Guard | 2100-2100-A | N/A | 3189898 | 88168196
| 4 ft. LED Tube (Lamp) | LED21T8/4/840 | 94382 | 3301702 | 25641474 | #VALUE!
| 4 ft. LED Tube (1 Lamp Driver) | LED21T8/DR/1L | 94384 | 3301703 | 25641476 | {vapor_1_tube_qty}
| 4 ft. LED Tube (2 Lamp Driver) | LED21T8/DR/2L | 94385 | 3301704 | 25641477 | {vapor_2_tube_qty}
| 4 ft. LED Tube (2 Lamp Dimable Driver) | LED21T8/DR/D/2L | 60041
| 4 ft. LED Tube (4 Lamp Dimable Driver) | LED21T8/DR/D/4L | 62030
| Gasketed 1x4 surface mount fixture | GS-14-0-A3-SP-WHTE | 75536 | 3301795 | 25652552 | {There_are_no_lights_currently_}
Linear Strip Fixtures (Office, Storage Rooms, Bathrooms) |  | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| 4 ft. LED Tube (Lamp) | LED21T8/4/840 | 94382 | 3301702 | 25641474 | #VALUE!
| 4 ft. LED Tube (1 Lamp Driver) | LED21T8/DR/1L | 94384 | 3301703 | 25641476 | {x4_ft_1_tube_qty}
| 4 ft. LED Tube (2 Lamp Driver) | LED21T8/DR/2L | 94385 | 3301704 | 25641477 | #VALUE!
| 4 ft. LED Tube (2 Lamp Dimable Driver) | LED21T8/DR/D/2L | 60041
| 4 ft. LED Tube (4 Lamp Dimable Driver) | LED21T8/DR/D/4L | 62030
| Description | Catalog Logic | GE Part # | Oracle # | GBID #
| 2ft. Refit LED Tubes 3500K | LED8ET8/G/2/835 | 35776 |  |  | #VALUE!
| 2ft. Refit LED Tubes 4000K | LED8ET8/G/2/840 | 35778 |  |  | #VALUE!
| 3ft. Refit LED Tubes 4000K | LED11ET8/G/3/840 | 35788
Horizontal Refrigerated Display Lights (RDL) - Sandwich Case | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| 12" Canopy Light |  |  |  |  | {qty_1_ft_canopy}
| 24" Canopy Light | GEMT302440CAN-SY | 69652 | 3301652 | 25647917 | {qty_2_ft_canopy}
| 36" Canopy Light | GEMT303640CAN-SY | 69660 | 3301653 | 25647918 | {qty_3_ft_canopy}
| 48" Canopy Light | GEMT304840CAN-SY | 69662 | 3301654 | 25647919 | {qty_4_ft_canopy}
| 12" Canopy Light |  |  |  |  | {qty_1_ft_Undershelf}
| 24" Undershelf Light | GEMT302440USL-SY | 69664 | 3301655 | 25647920 | {qty_2_ft_undershelf}
| 36" Undershelf Light | GEMT303640USL-SY | 69666 | 3301656 | 25647921 | {qty_3_ft_undershelf}
| 48" Undershelf Light | GEMT304840USL-SY | 69668 | 3301657 | 25647922 | {qty_4_ft_undershelf}
| RDL Power Supply (100w) | GEPS6000NCMUL-SY | 68593 | 03301791 | 25643293 | 0
| Mounting Clips (2 ea) | GE-MT3000NCM1-SY | 69721 | 3301658 | 25647924 | 0
Immersion Elite Eco – Refrigerated Display Cases | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| 48” (1219mm) Center (Single Pack) | ELV1E4850CS | 93025035 |  |  | 0
| 48” (1219mm) End Right (Single Pack) | ELV1E4850RS | 93025036 |  |  | 0
| 48” (1219mm) End Left (Single Pack) | ELV1E4850LS | 93025037 |  |  | 0
| 48” (1219mm) Center (10 Pack) | ELV1E4850CB | 93025038
| 48” (1219mm) End Right (10 Pack) | ELV1E4850RB | 93025039
| 48” (1219mm) End Left (10 Pack) | ELV1E4850LB | 93025040
| 60” (1524mm) Center (Single Pack) | ELV1E6050CS | 93023408 |  |  | 0
| 60” (1524mm) End Right (Single Pack) | ELV1E6050RS | 93023409 |  |  | 0
| 60” (1524mm) End Left (Single Pack) | ELV1E6050LS | 93023410 |  |  | 0
| 60” (1524mm) Center (10 Pack) | ELV1E6050CB | 93023336
| 60” (1524mm) End Right (10 Pack) | ELV1E6050RB | 93023337
| 60” (1524mm) End Left (10 Pack) | ELV1E6050LB | 93023338
| 67” (1708mm) Center (Single Pack) | ELV1E6750CS | 93025051 |  |  | 0
| 67” (1708mm) End Right (Single Pack) | ELV1E6750RS | 93025052 |  |  | 0
| 67” (1708mm) End Left (Single Pack) | ELV1E6750LS | 93025053 |  |  | 0
| 67” (1708mm) Center (10 Pack) | ELV1E6750CB | 93025054
| 67” (1708mm) End Right (10 Pack) | ELV1E6750RB | 93025055
| 67” (1708mm) End Left (10 Pack) | ELV1E6750LB | 93025056
| Power Supply (24V-50W) | GEPS6500NCMUL-SY | 68595
| Power Supply (24V-100W) | GEPS6100NCMUL-SY | 13978
| Cover* (10 pack) | GE-CV-ELITE | 93034656
Donut Case | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| 2 ft. LED Tube | 8.5T8/24-4000 IF 10/1 | N/A | 3301793 | 25652440 | #VALUE!
Slurpee | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| LED light box - Slurpy Machine - 2 Barrell |  | N/A | 3135325 | N/A | {Number_of_2_barrell_machines_t}
| LED light box - Slurpy Machine - 4 Barrell |  | N/A | 3135324 | N/A | {Number_of_4_barrell_machines_t}
Cappuccino | Description | Catalog Logic | GE Part # | Oracle # | GBID #
| Tetra® miniMAX White 7100K | GEMM71-2
| 18 AWG Supply Wire | 9409
| 22-14 AWG Twist-On Wire Connectors | 191600041
| Power Supply-Single Sided Power Strip | GEPS12-20
Big Gulp | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| 2 ft. LED Tube | 8.5T8/24-4000 IF 10/1 | N/A | 3301793 | 25652440 | {qty_2_foot_tube}
| 3 ft. LED Tube | 10.5T8/36-4000 IF 10/1 | N/A | 3301794 | 25652441 | {qty_3_foot_tube}
| 4 ft. LED Tube (Lamp) | LED21T8/4/840 | 94382 | 3301702 | 25641474 | {qty_4_foot_tube}
| 4 ft. LED Tube (Single Lamp Driver) | LED21T8/DR/1L | 94384 | 3301703 | 25641476 | 0
| 4 ft. LED Tube (DBL Lamp Driver) | LED21T8/DR/2L | 94385 | 3301704 | 25641477 | #VALUE!
Replacement Parts | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| BR 22, 14 GE driver (0-10V dimming) | GE 50W DRIVER PROG 0-10V | 72355 | 3301770 | 25651962
| BR 24 GE driver (0-10V dimming) | GE 50W DRIVER PROG 0-10V | 72357 | 3301771 | 25651963
| BT 24&14 45W driver-(non-dimmable) | Back-lit component | 72348 | 3301772 | 25651964
| BT22 UL 35W driver - (non-dimmable) | Back-lit component | 72352 | 3301773 | 25651965
| BR 24 diffuser | DIFFUSER 2BY4 | 72361 | 3301774 | 25651966
| BR14 diffuser | 1X4 BR DIFFUSER | 72359 | 3301775 | 25651967
| BR22 diffuser | DIFFUSER 2BY2 | 72358 | 3301776 | 25651968
| BT14 diffuser | Back-lit component | 72347 | 3301777 | 25651969
| BT22 UL diffuser | Back-lit component | 72340 | 3301778 | 25651970
| BT24 diffuser | Back-lit component | 72345 | 3301779 | 25651971
Exits and Emergency | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| Emergency 2 Lamp Wall Mount | VU6-CS | N/A | 3301350 | 22079916
| Chicago LOW PROFILE STEEL EM, 6V, 24W, CREAM | MJ1-1-24L-H12-W | N/A | 3301353 | 25603816
| New York Emergency 6V,18W White 2-Lamp | SU6L18W2 | N/A | 3301375 | 25617928
| Canada- 2 LIGHT EMERGENCY 120/277V 4.5W | LL90CA | N/A | 3186801 | 25632451
| LED Emergency Exit Red Letters | VERWEM | N/A | 3301358 | 22079915
| LED Emergency Exit Green Letters | VEGWEM | N/A | 3301359 | 22108618
| Chicago White Steel Emergency Exit Red Letters No Arrows | MJ6-E-1-RW-3 | N/A | 3301374 | 25603818
| New York White Steel Emergency Exit Red Letters UNV Nicad Battery | SXLRWEM | N/A | 3301407 | 25617927
| REMOTE Emergency Head | NY HEAD | N/A
| 1 LAMP BASE | MP 1 | N/A
| 2 LAMP BASE | MP 2 | N/A
| Canada LED EXIT UNIV RED W / BATTERY | VEX-CA-U-BP-WB-WH | N/A | 3186800 | 25641111
| White Thermoplastic Combo Red Exit /Side EM | VCRWLRC | N/A |  | 25217749
| White Thermoplastic Combo Side Green EXIT/EM | VCGWLRC | N/A |  | 25217749
| White Thermoplastic Combo Red Exit /Side EM W-Remote | VCRW | N/A |  | 22079917
| Chicago LED Steel Exit Sign P/N MJ6E1RW9-DEH | MJ6-E-1-RW-3-DEH | N/A | 3301389 | 25620567
| New York Diecast LED Combo Univ Exit/ 3 -head EM | SCLRW3 | N/A | 3301410 | 25642728
| Wall Mount Emergency Outdoor Light | LEDPRS-PR-CL | N/A | 3301377 | 25617924
| Canada OUTDOOR EMERG. WALL MNT. | LUXSD-DB-CW | N/A | 3186802 | 25637527
Other Fixtures | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| 2' - 1-Lamp T8 Surface Strip 120/277V Instant Start | SN117UV1SI | N/A
| 2' - 2-Lamp T8 Surface Strip 120/277V Instant Start | SN217UV1SI | N/A
| 4' - 2-Lamp T8 Surface Strip 120/277V Instant Start | SN232UV1SI | N/A |  | 25649481
| 4FT 1-T8 VAPORTIGHT 120/277 V | OVDRI132UV1SISM | N/A | 3301790 | 25649482
| 10ft Power Pole DPLX 10FT | 25DTP4 | N/A | 3301328 | 94025344
| TELE-POWER POLE EXTENDER (2 5ft pieces) | 25DTP-E10 | N/A |  | 25280672
| 12ft Power Pole DPLX 12FT | 25DTP-412 | N/A | 3301329 | 94023043
Lighting Controls | Description | Catalog Logic | GE Part # | Oracle # | GBID # | Quantity
| OCC SENSOR WALL SWITCH 120/277V | OSSMT-MDW | N/A | 3301241 | 25055387
| PASSIVE 360 INFRARED COLD STRG | OSFHU-CTW | N/A | 3301242 | 25250679
| PHOTO CELL TIME CLOCK 120/240/277V 20A SPDT OUTDOOR LIGHTING | LC200 | N/A
| CONTACTOR 600VAC 30AMP DPA +OPTIONS | 8910DPA34V02 | N/A
Note on E5: GE User: Use this as your main fixture on the sales floor for retrofits and acquisition projects. Mount fixtures 6'x8' on center as standard (DO NOT EXCEED SPACING). 6’x 6’ for mountings over 10ft. Call out the hot foods section and insert an extra 2 fixtures over this area to give it more light. It is allowable to slightly decrease standard spacing over cash registers, slushy, and baked goods area for more light. For mounting heights under 8.5’: Avoid placing fixtures at edge of grid within 2’ from a wall & the edge of the fixture(exception: all areas outside main sales floor). In general, always start with one wall, place the first row of fixtures 2-3ft away from the wall and build out from there. If the store is not a rectangular shape and some walls intersect diagonally with the grid, shift the grid closer (within 3ft from edge of fixture to the wall) to the wall that runs parallel with the grid and build out from there. These parameters must be followed to ensure 70 foot candle average on the sales floor.
Note on E9: GE User: Use this fixture w/ surface mount kit in bathrooms and offices. Otherwise use fixture as needed to augment other lighting.
Note on E15: GE User: Use this fixture w/ surface mount kit in bathrooms and offices. Otherwise use fixture as needed to augment other lighting.
Note on E22: GE User: Use this fixture w/ surface mount kit in bathrooms and offices. Otherwise use fixture as needed to augment other lighting.
Note on A29: GE User: Mount rows of fixtures apart by 10' on center. ATTEMPT TO MAXIMIZE USE OF 1x8 FIXTURE when designing with 1x4 and 1x8 fixtures in suspended rows. Using 1x8 instead of the 1x4 reduces cost for 7-11. Use Starter fixture at the start of each row and if mounted alone. Use continuous fixtures successively in each row after starter. Fixture with battery backup emergency lighting must be distributed evenly to achieve a 1FC average in the store during power failure.
Note on A51: GE User: USE ONLY FOR INTERIOR or VAPOR TIGHT APPLICATIONS! May replace any linear florescent lamp in 4ft. Select appropriate driver for 1 or 2 lamp configurations. Do not use in outdoors, damp locations, or refrigerated without vapor tight enclosure.
GE Recessed Fixtures
BR Series
BT22 will be the primary fixture used on the sales floor.
Generally you will need to order one (1) Emergency Light fixture for every six (6) standard.
For a site with 35 fixtures 30 will be standard fixtures, 5 will be emergency lights. Some sites may require more to accommodate.
GE Suspended Fixtures
IS Series
For Use in open ceiling applications
1 starter must be ordered for each continuous row or for standalone applications. Maximize use of 1x8 fixtures as this is less expensive for the customer.
Mounting Hardware
Order 2 suspension mounting bracket kits for each starter fixture, and 1 for each continuous fixture
4ft. LED Tube
2) Existing Vapor Tight Applications-When Vapor Tights Exist – swap out LFL’s with LED Tubes. Order appropriate driver.
LED Replacement Lamps-
4" Can
PAR30
LED Replacement Lamps- 6",8", 10" Can
PAR38
Gasketed Surface Mount
GS14 Series
3) No Existing Fixture- For use in damp vault applications where this are no existing fixtures
LED A-Line Lamp
1) Jelly Jar Applications-Use Damp rated GE A-Line lamps to replace existing incandescent and fluorescent screw in lamps..
DO NOT re-use Jelly Jar. LEDs will be damaged by trapped heat. Dispose Jelly Jar and replace with open cage protect lamp.
4ft. LED Tube
Replace LFL tubes with LED tubes in all back of house applications (Office, Storage Room, Bathrooms, etc.)
DO NOT USE tubes on the sales floor, in outdoor applications, or in refrigerated applications or anywhere there is a water vapor risk. HOWEVER, they may be used inside vapor tight fixtures.
Immersion Elite Eco
Use to retrofit vertically mounted linear florescent fixtures in refrigerated display cases. Driver output is 100w. See Refrigerated Lighting Survey tab to calculate # of power supplys and covers needed.
GE Surface Mount Fixtures
BT Series
Use in rare cases where surface mounts are necessary (e.g. hard ceiling bathroom where a tube swap will not work). This item is only the kit, you must order a 1x4 fixture from above
Please reference indoor reflected ceiling plan for types and quantities
Integrated Refit LED Tubes: 2ft. and 3ft.
Order 1 Light Bar, 1 Power Supply, and 2 mounting clips for each donut case.
Please reference indoor reflected ceiling plan for types and quantities
Check to see if the Slurpee machine is already LED. If not, contact manufacturer for a replacement face.
Use Tetra mini Max signage product for this application.
Replace driver and use two (2) 24” LED tubes to replace existing LFL.
Order signage product from Harbinger Sign.
Contact Liz Nicolet at Lnicolet@HarbingerSign.com or 972-905-9470
Whenever possible, the most common fixture or default fixture for the application is highlighted in blue.
You must contact Harbinger Sign for these products
Optimum Light
Wiremold
Levitron
Optimum Light
Levitron
Daybrite
Lightolier
Lightolier
Barron
Daybrite
Lightolier
Chloride
Chloride
Barron
Lightolier
Lightolier
Chloride
Daybrite
Emergilite
Horizontal Open Deck Cases RH30 Series
Order 3 mounting clips per light bar and 1 to 2 power supplys per case
CREE Surface Mount Fixtures
SMK-LE Series
Use only in cases where the site design calls specifically for this fixture
Please reference indoor reflected ceiling plan for types and quantities
Use only in California and in cities that require dimming
Use only in California and in cities that require dimming
Convert existing linear fluorescent fixtures to LED lighting without needing a comprehensive reinstall. LED tubes offer high energy savings with minimal installation time. Each LED tube is outfitted with an internal GE driver.

## Outdoor Survey
Outdoor Lighting Survey Sheet | [18 empty] | LampWattage_Type | Technology | Wattage | Nominal_System_Watts
Mark fixture orientation on provided site photo | [18 empty] | 100W HG | HG | 100 | 130
Insert information in the yellow cells below | [18 empty] | 175W HG | HG | 175 | 210
Be sure to calculate the actual mounting height. This is the pole plus any base it may have. | [18 empty] | 400W HG | HG | 400 | 456
If you use the measuring method below, you will need a tape measure and ruler in order to calculate Mounting height. | [18 empty] | 175W MH | MH | 175 | 208
Use a default factor of "1" if you cannot determine the ballast factor | [19 empty] | MH | 50 | 72
[20 empty] | MH | 70 | 98
| Total Fixture Quantity | Fixture color | Mounting height (ft) | Voltage | Wattage | LED, MH, HPS, LPS, or other | Pole Type Round or Square | Pole Style Straight or Tapered | Pole color | Quantity of poles | Does it have Tenon Mounting or open top pole (Open/Tenon) | Outside diameter at pole top (in) | Inside diameter at pole top (in) | Total Watts | [5 empty] | MH | 100 | 122
Pole lights | {Total_Fixture_Quantity(1)} | {Fixture_color(1)} | {Mounting_height(1)} | {Voltage(1)} | {Wattage(1)} | {LED_MH_HPS_LPS_or_other(1)} | {Pole_Type(1)} | {Pole_Style(1)} | {Pole_Color(1)} | {Quantity_of_poles(1)} | {Does_it_have_Tenon_Mounting_or(1)} | {Outside_diameter_at_pole_top(1)} | {Inside_diameter_at_pole_top(1)} | #VALUE! | [5 empty] | MH | 150 | 194
| {Total_Fixture_Quantity(2)} | {Fixture_color(2)} | {Mounting_height(2)} | {Voltage(2)} | {Wattage(2)} | {LED_MH_HPS_LPS_or_other(2)} | {Pole_Type(2)} | {Pole_Style(2)} | {Pole_Color(2)} | {Quantity_of_poles(2)} | {Does_it_have_Tenon_Mounting_or(2)} | {Outside_diameter_at_pole_top(2)} | {Inside_diameter_at_pole_top(2)} | #VALUE! |  |  |  |  | 250W MH | MH | 250 | 290
| Total Fixture Quantity | Mounting height (ft) | Surface mounted box (Yes/No) |  | Wattage | LED, MH, HPS, LPS, or other | Dimensions of current fixture or box |  | Total Watts | [9 empty] | 400W MH | MH | 400 | 459
Gas Canopy | {Total_Fixture_Quantity_gas(1)} | {Mounting_height_gas(1)} | {Surface_Mounted_Box_gas(1)} |  | {Wattage_gas(1)} | {LED_MH_HPS_LPS_or_oth_gas(1)} | {Dimensions_of_current_fix_gas(1)} |  | #VALUE! | [9 empty] | 1000W MH | MH | 1000 | 1078
| {Total_Fixture_Quantity_gas(2)} | {Mounting_height_gas(2)} | {Surface_Mounted_Box_gas(2)} |  | {Wattage_gas(2)} | {LED_MH_HPS_LPS_or_oth_gas(2)} | {Dimensions_of_current_fix_gas(2)} |  | #VALUE! | [9 empty] | 1500W MH | MH | 1500 | 1650
| Total Fixture Quantity | Fixture color | Mounting height (ft) | Voltage | Wattage | LED, MH, HPS, LPS, or other | Total Watts | [11 empty] | 2000W MH | MH | 2000 | 2121
Wallpacks | {Total_Fixture_Quantity_Wallpac(1)} | {Fixture_Color_wallpack(1)} | {Mounting_height_wallpack(1)} | {Voltage_wallpacks(1)} | {Wattage_wallpacks(1)} | {LED_MH_HPS_LPS_wallpacks(1)} | #VALUE! | [11 empty] | 100W CMH | CMH | 100 | 122
| {Total_Fixture_Quantity_Wallpac(2)} | {Fixture_Color_wallpack(2)} | {Mounting_height_wallpack(2)} | {Voltage_wallpacks(2)} | {Wattage_wallpacks(2)} | {LED_MH_HPS_LPS_wallpacks(2)} | #VALUE! | [11 empty] | 150W CMH | CMH | 150 | 180
| Total Fixture Quantity | Fixture color | Mounting height (ft) | Voltage | Wattage | LED, MH, HPS, LPS, or other | Wall or Ceiling Mounted | Total Watts | [10 empty] | 250W CMH | CMH | 250 | 308
Car Wash | {Total_Fixture_Quantity_car_was} | {Fixture_color_car_wash} | {Mounting_height_car_wash} | {Voltage_car_wash} | {Wattage_car_wash} | {LED_MH_HPS_LPS_car_wash} | {Mounting_car_wash} | #VALUE! | [10 empty] | 315W CMH | CMH | 315 | 360
[19 empty] | 320W CMH | CMH | 320 | 367
| Single or Double Sided Sign | Depth of sign | Height of sign | Width of sign | Quantity of Lamps | Wattage per lamp | Ballast Factor | LED, MH, HPS, LPS, LFL or other | Description of Application (Ex: on canopy, above entrance) |  | Total Watts | [7 empty] | 400W CMH | CMH | 400 | 430
External Signage | {Single_or_Double_Sided_Sign(1)} | {Depth_of_sign(1)} | {Height_of_sign(1)} | {Width_of_sign(1)} | {Quantity_of_Lamps(1)} | {Wattage_per_lamp1(1)} | 1 | {LED_MH_HPS_LPS_LFL_or_other(1)} | {Description_of_Application(1)} |  | #VALUE! | [7 empty] | 250W HG | HG | 250 | 305
Lighting | {Single_or_Double_Sided_Sign(2)} | {Depth_of_sign(2)} | {Height_of_sign(2)} | {Width_of_sign(2)} | {Quantity_of_Lamps(2)} | {Wattage_per_lamp1(2)} | 1 | {LED_MH_HPS_LPS_LFL_or_other(2)} | {Description_of_Application(2)} |  | #VALUE! | [7 empty] | 35W HPS | HPS | 35 | 40
| {Single_or_Double_Sided_Sign(3)} | {Depth_of_sign(3)} | {Height_of_sign(3)} | {Width_of_sign(3)} | {Quantity_of_Lamps(3)} | {Wattage_per_lamp1(3)} | 1 | {LED_MH_HPS_LPS_LFL_or_other(3)} | {Description_of_Application(3)} |  | #VALUE! | [7 empty] | 50W HPS | HPS | 50 | 61
| {Single_or_Double_Sided_Sign(4)} | {Depth_of_sign(4)} | {Height_of_sign(4)} | {Width_of_sign(4)} | {Quantity_of_Lamps(4)} | {Wattage_per_lamp1(4)} | 1 | {LED_MH_HPS_LPS_LFL_or_other(4)} | {Description_of_Application(4)} |  | #VALUE! | [7 empty] | 70W HPS | HPS | 70 | 87
| {Single_or_Double_Sided_Sign(5)} | {Depth_of_sign(5)} | {Height_of_sign(5)} | {Width_of_sign(5)} | {Quantity_of_Lamps(5)} | {Wattage_per_lamp1(5)} | 1 | {LED_MH_HPS_LPS_LFL_or_other(5)} | {Description_of_Application(5)} |  | #VALUE! | [7 empty] | 100W HPS | HPS | 100 | 119
| {Single_or_Double_Sided_Sign(6)} | {Depth_of_sign(6)} | {Height_of_sign(6)} | {Width_of_sign(6)} | {Quantity_of_Lamps(6)} | {Wattage_per_lamp1(6)} | 1 | {LED_MH_HPS_LPS_LFL_or_other(6)} | {Description_of_Application(6)} |  | #VALUE! | [7 empty] | 150W HPS | HPS | 150 | 183
[19 empty] | 200W HPS | HPS | 200 | 240
| Total Fixture Quantity | LED, HID, HPS, or other | Mounting Hardware needed (yes/no) | Voltage | Wattage | LED, MH, HPS, LPS, or other |  |  | Description of hardware needed | Total Watts | [8 empty] | 250W HPS | HPS | 250 | 305
Flood Lights | {Total_Fixture_Quantity_flood(1)} | {LED_HID_HPS_or_flood(1)} | {Mounting_Hardware_needed_flood(1)} | {Voltage_flood(1)} | {Wattage_flood(1)} | {LED_MH_HPS_LPS_flood(1)} | {Description_of_hardware_flood(1)} |  |  | #VALUE! | [8 empty] | 310W HPS | HPS | 310 | 361
| Reference the product guide and product spec sheets to determine mounting hardware requirements | [17 empty] | 400W HPS | HPS | 400 | 468
[19 empty] | 750W HPS | HPS | 750 | 841
| Total Fixture Quantity | Fixture Length | total length of run (ft) | Voltage | Wattage | LED, MH, HPS, LPS, or other | Total Watts | [11 empty] | 1000W HPS | HPS | 1000 | 1104
Store Entrance | {Total_Fixture_Quantity_str_ent} | {Fixture_Length_str_ent} | {Total_length_of_run_str_ent} | {Voltage_str_ent} | {Wattage_str_ent} | {LED_MH_HPS_LPS_str_ent} | #VALUE! | [11 empty] | 55W INDUCTION | Induction | 55 | 55
Canopy Lights | If the lights in this area are recessed cans, do not count the cans. Count only the total length of the run that linear fixtures could be mounted upon. | [17 empty] | 85W INDUCTION | Induction | 85 | 85
[19 empty] | 100W INDUCTION | Induction | 100 | 107
| Total Fixture Quantity | Mounting height (ft) | Fixture Length | Side of Building | Wattage | LED, MH, HPS, LPS, LFL, or other | total length of run (ft) | Ballast Factor | Total Watts | [9 empty] | 150W INDUCTION | Induction | 150 | 156
Soffit Lights | {Total_Fixture_Quantity_soffit(1)} | {Mounting_height_soffit(1)} | {Fixture_Length_soffit(1)} | {Side_of_Building_soffit(1)} | {Wattage_soffit(1)} | {LED_MH_HPS_LPS_LFL_soffit(1)} | {Total_length_of_run_soffit(1)} | 1 | #VALUE! | [9 empty] | 165W INDUCTION | Induction | 165 | 165
Surrounding Store | {Total_Fixture_Quantity_soffit(2)} | {Mounting_height_soffit(2)} | {Fixture_Length_soffit(2)} | {Side_of_Building_soffit(2)} | {Wattage_soffit(2)} | {LED_MH_HPS_LPS_LFL_soffit(2)} | {Total_length_of_run_soffit(2)} | 1 | #VALUE! | [9 empty] | 50W PMH | PMH | 50 | 72
(eyebrow lights) | {Total_Fixture_Quantity_soffit(3)} | {Mounting_height_soffit(3)} | {Fixture_Length_soffit(3)} | {Side_of_Building_soffit(3)} | {Wattage_soffit(3)} | {LED_MH_HPS_LPS_LFL_soffit(3)} | {Total_length_of_run_soffit(3)} | 1 | #VALUE! | [9 empty] | 70W PMH | PMH | 70 | 98
| {Total_Fixture_Quantity_soffit(4)} | {Mounting_height_soffit(4)} | {Fixture_Length_soffit(4)} | {Side_of_Building_soffit(4)} | {Wattage_soffit(4)} | {LED_MH_HPS_LPS_LFL_soffit(4)} | {Total_length_of_run_soffit(4)} | 1 | #VALUE! | [9 empty] | 100W PMH | PMH | 100 | 122
| Total Fixture Quantity | Mounting height (ft) | Can Size |  | Wattage | LED, MH, HPS, LPS, or other | Total Watts | [11 empty] | 150W PMH | PMH | 150 | 194
Outdoor Cans | {Total_Fixture_Quantity_out_can(1)} | {Mounting_height_out_can(1)} | {Can_Size_out_can(1)} |  | {Wattage_out_can(1)} | {LED_MH_HPS_LPS_LFL_out_can(1)} | #VALUE! | [11 empty] | 175W PMH | PMH | 175 | 212
Goosnecks | {Total_Fixture_Quantity_out_can(2)} | {Mounting_height_out_can(2)} | {Can_Size_out_can(2)} |  | {Wattage_out_can(2)} | {LED_MH_HPS_LPS_LFL_out_can(2)} | #VALUE! | [11 empty] | 200W PMH | PMH | 200 | 218
[19 empty] | 250W PMH | PMH | 250 | 288
Other Fixtures or Lamps Needed | {Other_Fixtures_or_Lamps_Needed} | [17 empty] | 320W PMH | PMH | 320 | 370
[19 empty] | 400W PMH | PMH | 400 | 459
Pictures | Place an "X" in the box to signify that you took a photo of the below items | [17 empty] | 750W PMH | PMH | 750 | 826
| {Pole_base} | Pole base (to display pole condition)
| {Parking_lot_fixture} | Parking lot fixture
| {Wall_pack_fixture} | Wall pack fixture
| {Wall_pack_fixture_data_plate} | Wall pack fixture data plate
| {Any_post_top_fixture_or_other_} | Any post top fixture or other fixtures
Sketches | Place an "X" in the box to signify that you have completed the below sketches or tasks
Diagram of mounting pattern where fixture arm mounts to pole
& Checks | {Sketches_Checks} | Diagram of any tenon mounted fixtures (tenon post dimensions & tenon dimensions)
| {Site_Sketches_check} | Site sketch
|  | {Power_switched_on_to_identify_} | power switched on to identify poles on clients power grid
|  | {Poles_and_fixtures_marked_on_s} | Poles and fixtures marked on site sketch
|  | {Poles_marked_that_they_are_7_1} | Poles marked that they are 7-11 owned or owned by others
|  | {Wall_pack_fixtures_marked_on_s} | wall pack fixtures marked on site sketch
|  | {Property_line_marked_on_site_s} | Property line marked on site sketch
|  | {Adjoining_properties_marked_re} | Adjoining properties marked residential or commercial on site sketch
Pole Condition | {Pole_Condition}
Finding Mounting Height with only a ruler You will need to measure 100 feet on the ground going away from the pole. You can do this in one of 3 ways. you can use a measuring wheel, a tape measure in successive measurements if it is shorter than 100 feet, or you can measure your pace and pace it off. Face the Pole at 100 feet away, hold up a simple 12" ruler, extended out, measure the pole on the ruler, and then the distance from your eye to the ruler. Make sure to use the same unit of measure throughout your measurements. The example to the right uses feet, but I would recommend using inches and then dividing your final answer by 12 to get the feet. The height of the ruler measurement times the distance from the pole divided by the length of your arm will equal the height of the pole. use the calculation examples to the right or call John Downing at 216-233-4457 for assistance.
[6 empty] | X | measurement on the ruler
[6 empty] | Y | distance from your eye to ruler (length of your arm)
[6 empty] | A | Height of pole
[6 empty] | B | distance you are standing from the pole
[15 empty] | Cat | 1 | 6 | 7
[15 empty] | dog | 3 | 5 | 5
[15 empty] | cow | 4 | 8 | 7
Finding Mounting Height
Pole with "Open" top
Fixture arm is bolted to side of pole
Pole With "Tenon" Mounting
Tenon arm assembly mounts on the very top of pole and sits on top of the tenon post
Tenon Reducer
Used to convert an open top pole to a pole with tenon mounting
Required to match a Reducer
(4",5",6" in square)

## Outdoor Lighting Order Form
Outdoor Lighting Order Form 2017
Pole Lights | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| Forward Throw- ERS1 | ERS1-0-C3-D1-7-50-1-BLCK |  | 203285 | 3301718 | 25649360
| Forward Throw - ERS2 | ERS2-0-G3-D1-1-50-1-BLCK |  | 203267 | 3301720 | 25649362
| Wide Throw - ERS2 | ERS2-0-G3-E1-1-50-1-BLCK |  | 203296 | 3301719 | 25649361
| Forward Throw- ERS1 | ERS1-0-C3-D1-7-50-1-DKBZ |  | 203286 | 3301640 | 25648767
| Forward Throw - ERS2 | ERS2-0-G3-D1-1-50-1-DKBZ |  | 203239 | 3301642 | 25647927
| Wide Throw - ERS2 | ERS2-0-G3-E1-1-50-1-DKBZ |  | 203240 | 3301641 | 25647926
| Forward Throw- ERS1 | ERS1-0-C3-D1-7-50-1-GRAY |  | 203283 | 3301724 | 25649366
| Forward Throw - ERS2 | ERS2-0-G3-D1-1-50-1-GRAY |  | 203277 | 3301726 | 25649368
| Wide Throw - ERS2 | ERS2-0-G3-E1-1-50-1-GRAY |  | 203278 | 3301725 | 25649367
| Forward Throw- ERS1 | ERS1-0-C3-D1-7-50-1-WHTE |  | 203284 | 3301721 | 25649363
| Forward Throw - ERS2 | ERS2-0-G3-D1-1-50-1-WHTE |  | 203279 | 3301723 | 25649365
| Wide Throw - ERS2 | ERS2-0-G3-E1-1-50-1-WHTE |  | 203280 | 3301722 | 25649364
| Description | Catalog Logic |  | GE Part # | Oracle # | GBID #
| LED AREA – Type IV – 7500lm | EALP010C4AF750NDD1BLCK |  | 93037012
| LED AREA – Type IV – 16,000lm | EALP010F3AW750NDD1BLCK |  | 93037019
| LED AREA – Type IV – 15,000lm | EALP010F4AF750NDD1BLCK |  | 93037020
| LED AREA – Type V – 15,000lm | EALP010F5SM750NDD1BLCK |  | 93037021
| LED AREA – Type II – 26,000lm | EALP010J2AN750NDD1BLCK |  | 93037026
| LED AREA – Type III – 26,700lm | EALP010J3AW750NDD1BLCK |  | 93037027
| LED AREA – Type IV – 25,000lm | EALP010J4AF750NDD1BLCK |  | 93037028
| LED AREA – Type III – 32,000lm | EALP010K3AW750NDD1BLCK |  | 93037031
| LED AREA – Type IV – 30,000lm | EALP010K4AF750NDD1BLCK |  | 93037032
| LED AREA – Type V – 30,000lm | EALP010K5SM750NDD1BLCK |  | 93037033
| LED AREA – Type V – 26,700lm | EALP010T5SW750NDD1BLCK |  | 93037044
| LED AREA – Type IV – 7500lm | EALP010C4AF750NDD1DKBZ |  | 93040878
| LED AREA – Type IV – 16,000lm | EALP010F3AW750NDD1DKBZ |  | 93047894
| LED AREA – Type IV – 15,000lm | EALP010F4AF750NDD1DKBZ |  | 93040886
| LED AREA – Type V – 15,000lm | EALP010F5SM750NDD1DKBZ |  | 93045045
| LED AREA – Type IV – 15,000lm | EALP010F4AF750NDD1DKBZ |  | 93040886
| LED AREA – Type II – 26,000lm | EALP010J2AN750NDD1DKBZ |  | 93047929
| LED AREA – Type III – 26,700lm | EALP010J3AW750NDD1DKBZ |  | 93047932
| LED AREA – Type IV – 25,000lm | EALP010J4AF750NDD1DKBZ |  | 93039349
| LED AREA – Type III – 32,000lm | EALP010K3AW750NDD1DKBZ |  | 93046202
| LED AREA – Type IV – 30,000lm | EALP010K4AF750NDD1DKBZ |  | 93039813
EALP | LED AREA – Type V – 30,000lm | EALP010K5SM750NDD1DKBZ |  | 93039814
| LED AREA – Type V – 26,700lm | EALP010T5SW750NDD1DKBZ |  | 93047940
| LED AREA – Type IV – 16,000lm | EALP010F3AW750NDD1GRAY |  | 93047895
| LED AREA – Type IV – 15,000lm | EALP010F4AF750NDD1GRAY |  | 93045041
| LED AREA – Type V – 15,000lm | EALP010F5SM750NDD1GRAY |  | 93045046
| LED AREA – Type II – 26,000lm | EALP010J2AN750NDD1GRAY |  | 93047930
| LED AREA – Type III – 26,700lm | EALP010J3AW750NDD1GRAY |  | 93047933
| LED AREA – Type IV – 25,000lm | EALP010J4AF750NDD1GRAY |  | 93047935
| LED AREA – Type III – 32,000lm | EALP010K3AW750NDD1GRAY |  | 93047937
| LED AREA – Type IV – 30,000lm | EALP010K4AF750NDD1GRAY |  | 93047938
| LED AREA – Type V – 30,000lm | EALP010K5SM750NDD1GRAY |  | 93045063
| LED AREA – Type V – 26,700lm | EALP010T5SW750NDD1GRAY |  | 93047941
| LED AREA – Type IV – 16,000lm | EALP010F3AW750NDD1WHTE |  | 93047926
| LED AREA – Type IV – 15,000lm | EALP010F4AF750NDD1WHTE |  | 93047927
| LED AREA – Type V – 15,000lm | EALP010F5SM750NDD1WHTE |  | 93047928
| LED AREA – Type II – 26,000lm | EALP010J2AN750NDD1WHTE |  | 93047931
| LED AREA – Type III – 26,700lm | EALP010J3AW750NDD1WHTE |  | 93047934
| LED AREA – Type IV – 25,000lm | EALP010J4AF750NDD1WHTE |  | 93047936
| LED AREA – Type III – 32,000lm | EALP010K3AW750NDD1WHTE |  | 93047452
| LED AREA – Type IV – 30,000lm | EALP010K4AF750NDD1WHTE |  | 93047939
| LED AREA – Type V – 30,000lm | EALP010K5SM750NDD1WHTE |  | 93043016
| LED AREA – Type V – 26,700lm | EALP010T5SW750NDD1WHTE |  | 93047942
Gas Canopy | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| Canopy Fixture - Recessed | ECSA0B57501RWHTE |  | 199872
| Canopy Fixture - Surface | ECSA0B57501SWHTE |  | 198403
| Mounting Plate for 12" recessed | ECSA-REC-A |  | 200024
| Mounting Plate for 16" recessed | ECSA-REC-B |  | 200025
| Description | Catalog Logic |  | GE Part # | Oracle # | GBID #
| Surface Mount Canopy Fixture - 4230 Lumen | ECBB0A5F5501AWHTE |  | 93015886 |  | 25761185
| Surface Mount Canopy Fixture - 8110 Lumen | ECBB0B5F5501AWHTE |  | 213740 |  | 25761183
| Surface Mount Canopy Fixture - 13550 Lumen | ECBB0C5F5501AWHTE |  | 213741 |  | 25761184
| 24" Surface mount escutcheon plate | ECBE1WH |  | 204055 |  | 25655015
| 32" Surface mount escutcheon plate | ECBE2WH |  | 204057 |  | 25655016
| Surface Mount Canopy Fixture - 4230 Lumen - with motion sensor | ECBB0A5F5504AWHTER |  | 93020030
| Surface Mount Canopy Fixture - 8110 Lumen - with motion sensor | ECBB0B5F5504AWHTER |  | 93022129
| Surface Mount Canopy Fixture - 13550 Lumen - with motion sensor | ECBB0C5F5504AWHTER |  | 93025465
| Description | Catalog Logic |  | GE Part # | Oracle # | GBID #
| CREE Surface Drop Lens Canopy Fixture | CPY250-DM-F-B-UL-WH |  | N/A |  | 25649264
| CREE Flush Lens Canopy Fixture | CPY250-DM-F-B-UL-WH |  | N/A |  | 25649265
| Recessed Mount Canopy Fixture - 4230 Lumen | ECRA0A5F5501BWHTE |  | 93015890 |  | 25701626
ECRA | Recessed Mount Canopy Fixture - 8110 Lumen | ECRA0B5F5501BWHTE |  | 93015893 |  | 25701627
| Recessed Mount Canopy Fixture - 13550 Lumen | ECRA0C5F5501BWHTE |  | 93021595 |  | 25701628
| 24" Surface mount escutcheon plate | ECBE1WH |  | 204055 |  | 25655015
| 32" Surface mount escutcheon plate | ECBE2WH |  | 204057 |  | 25655016
| Recessed Mount Canopy Fixture - 4230 Lumen - with motion sensor | ECRA0A5F5504BWHTED
| Recessed Mount Canopy Fixture - 8110 Lumen - with motion sensor | ECRA0B5F5504BWHTED
| Recessed Mount Canopy Fixture - 13550 Lumen - with motion sensor | ECRA0C5F5504BWHTED
Wall Packs | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| 3800 Lumen - Asymetric Medium | EWS30B7E1501DKBZ |  | 93047967
| 5000 Lumen - Asymetric Medium | EWS30C7E1501DKBZ |  | 93046752
| 8600 Lumen - Asymetric Forward | EWS30E3D1501DKBZ |  | 93045237
| 5000 Lumen - Asymetric Medium w/ motion sensor | EWS30C7E1501DKBZH |  | 93046753
| Egress Door wall pack w/Battery | LEDPRS-BR-CL (Phillips) |  | N/A | 3301377 | 25617924
Flood Lights | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| Wide Throw Flood (area lighting) | EFNA-0-BE-50-1-T-DKBZ |  | 207194 | 3301801 | 25684469
| Spot Flood (flag lighting) | EFNA-0-BS-50-1-T-DKBZ |  | 207196 | 3301802 | 25684470
| Flood mount (pole top) | PTADB-002 |  | 019649 | 3301690 | 89079458
| Flood mount (mid pole on arm) | SFADB-001 |  | 021308 | 3301691 | 88101183
| Bullhorn arm - wall mountable | FBSFA2TTDB |  | 810104 | 3301692 | 96053935
| Bullhorn arm - round pole mountable | CMRABHX14-DB |  | N/A | 3301693 | 25647834
Car Wash | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| Gasketed 1x4 surface mount fixture | GS-14-0-A3-SP-WHTE |  | 75536 | 3301659 | 25652552
| Description | Catalog Logic |  | GE Part # | Oracle # | GBID #
| 3800 Lumen - Asymetric Medium | EWS30B7E1501DKBZ |  | 93047967
| 5000 Lumen - Asymetric Medium | EWS30C7E1501DKBZ |  | 93046752
| 8600 Lumen - Asymetric Forward | EWS30E3D1501DKBZ |  | 93045237
| Description | Catalog Logic |  | GE Part # | Oracle # | GBID #
| 5000 Lumen - Asymetric Medium w/ motion sensor | EWS30C7E1501DKBZH |  | 93046753
External Signage Lighting | Description | Catalog Logic |  | GE Part # | Oracle # | GBID #
| Tetra PowerStrip- Single | GESS71-1
| Tetra PowerStrip DS- Double | GEDS71-1
| 18 AWG Supply Wire (0.82 mm2) | 9409
| Tetra Mounting Rail | GEDSRL08
| Tetra Mounting Clip | GEDSRC1
| 22-14 AWG Twist-On Wire Connectors | 191600041
| Power Supply-Single Sided Power Strip | GEPS12-60-NA
| Power Supply DS- Double Sided Power Strip | GEPS24-100-NA
Store Entrance Under Canopy/ Soffit Lighting | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| GE 24" 4100K Batten / Strip | GEWI102441BAT-SY |  | 94455 | 3301458 | 25652618
| GE 48" 4100K Batten / Strip | GEWI104841BAT-SY |  | 94458 | 3301459 | 25652619
| GE 96" 4100K Batten / Strip | GEWI109641BAT-SY |  | 94461 | 3301460 | 25652620
| 6ft Leader Cable without plug | GELEDCABLE-6FT |  | 96440 | 3301715 | 25652621
| 2ft Jumper Cable | GEJUMCABLE-2FT |  | 96441 | 3301716 | 25652622
| Mounting Clips (Pack of 12) | GEMOUNTCLP-MET |  | 96442 | 3301717 | 25652623 | 0
Recessed Cans/Goosenecks | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| LED Par 38 (Wet rated) | LED18D38OW384040 |  | 93172
Mounting Hardware | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| Tenon adapter - Single | MS401-01-0-FP-DB |  | 813556 | 3301442 | 25629905
| Tenon adapter - Single | MS401-01-0-FP-BK |  | 813586 | 3301748 | 25647628
| Tenon adapter - Single | MS401-01-0-FP-WT |  | 813592 | 3301756 | 25647636
| Tenon adapter - Single | MS401-01-0-FP-GR |  | 813598 | 3301764 | 25647599
| Tenon adapter -Double at 90 deg. | ML402-01-0-FP-DB |  | 813557 | 3301443 | 25629906
| Tenon adapter -Double at 90 deg. | ML402-01-0-FP-BK |  | 813587 | 3301749 | 25647629
| Tenon adapter -Double at 90 deg. | ML402-01-0-FP-WT |  | 813593 | 3301757 | 25647637
| Tenon adapter -Double at 90 deg. | ML402-01-0-FP-GR |  | 813599 | 3301765 | 25647600
| Tenon adapter - Double at 180 deg. | MD402-01-0-FP-DB |  | 813558 | 3301444 | 25629907
| Tenon adapter - Double at 180 deg. | MD402-01-0-FP-BK |  | 813588 | 3301750 | 25647630
| Tenon adapter - Double at 180 deg. | MD402-01-0-FP-WT |  | 813594 | 3301758 | 25647593
| Tenon adapter - Double at 180 deg. | MD402-01-0-FP-GR |  | 813600 | 3301766 | 25647601
| Tenon adapter - Triple at 90 deg. | MT403-01-0-FP-DB |  | 813559 | 3301445 | 25629908
| Tenon adapter - Triple at 90 deg. | MT403-01-0-FP-BK |  | 813589 | 3301751 | 25647631
| Tenon adapter - Triple at 90 deg. | MT403-01-0-FP-WT |  | 813595 | 3301759 | 25647594
| Tenon adapter - Triple at 90 deg. | MT403-01-0-FP-GR |  | 813601 | 3301767 | 25647602
| Tenon adapter - Triple at 120 deg. | MY403-01-0-FP-DB |  | 813560 | 3301446 | 25629909
| Tenon adapter - Triple at 120 deg. | MY403-01-0-FP-BK |  | 813590 | 3301752 | 25647632
| Tenon adapter - Triple at 120 deg. | MY403-01-0-FP-WT |  | 813596 | 3301760 | 25647595
| Tenon adapter - Triple at 120 deg. | MY403-01-0-FP-GR |  | 813602 | 3301768 | 25647603
| Tenon adapter - Quad at 90 deg | MX404-01-0-FP-DB |  | 813561 | 3301447 | 25629910
| Tenon adapter - Quad at 90 deg | MX404-01-0-FP-BK |  | 813591 | 3301753 | 25647633
| Tenon adapter - Quad at 90 deg | MX404-01-0-FP-WT |  | 813597 | 3301761 | 25647596
| Tenon adapter - Quad at 90 deg | MX404-01-0-FP-GR |  | 813603 | 3301769 | 25647604
| Tenon adapter - Bullhorn Tenon Mount | MD102-030-01- DB |  | 813629 | 3301780 | 25652631
| Tenon adapter - Bullhorn Tenon Mount | MD102-030-01- BK |  | 813630 | 3301781 | 25652632
| Tenon adapter - Bullhorn Tenon Mount | MD102-030-01- WT |  | 813632 | 3301782 | 25652633
| Tenon adapter - Bullhorn Tenon Mount | MD102-030-01- GR |  | 813631 | 3301783 | 25652634
| Sq. pole tenon reducer-poles w/ 4” OD & 3" ID | RTASQ-4-2BL |  | 813523 | 3301677 | 25647811
| Sq. pole tenon reducer-poles w/ 5” OD & 4" ID | RTASQ-5-2BL |  | 812404 | 3301678 | 25647812
| Sq. pole tenon reducer-poles w/ 6” OD & 5" ID | RTASQ-6-2BL |  | 813610 | 3301679 | 25647813
| Round pole Tenon reducer for 3” round pole - dark bronze | TR-30-2DB |  | 813614
| Round pole Tenon reducer for 3.5” round pole – dark bronze | TR-35-2DB |  | 813615
| Round pole Tenon reducer for 4” round pole – dark bronze | TR-40-2DB |  | 813616
| Round pole Tenon reducer for 3” round pole - white | TR-30-2WT |  | 810192
| Round pole Tenon reducer for 3.5” round pole - white | TR-35-2WT |  | 812675
| Round pole Tenon reducer for 4” round pole - white | TR-40-2WT |  | 811087
| Round pole Tenon reducer for 3” round pole - gray | TR-30-2GR |  | 811119
| Round pole Tenon reducer for 3.5” round pole - gray | TR-35-2GR |  | 813553
| Round pole Tenon reducer for 4” round pole - gray | TR-40-2GR |  | 813489
| Round pole Tenon reducer for 3” round pole - black | TR-30-2BL |  | 810194
| Round pole Tenon reducer for 3.5” round pole – black | TR-35-2BL |  | 813620
| Round pole Tenon reducer for 4” round pole - black | TR-40-2BL |  | 813533
| Round pole arm adapter | RPA-EAMT10DKBZ |  | 184697 | 3301745 | 25567627
| Round pole arm adapter | RPA-EAMT10BLCK |  | 182492 | 3301746 | 25647626
| Round pole arm adapter | RPA-EAMT10WHTE |  | 193613 | 3301754 | 25647634
| Round pole arm adapter | RPA-EAMT10GRAY |  | 191023 | 3301762 | 25647597
| 17' square pole 4" dia. w/ tenon mt. | ASSS17TT411DB 0VI |  | 813555 | 3301440 | 25629904
Occupancy Sensor | Description | Catalog Logic |  | GE Part # | Oracle # | GBID # | Quantity
| Outdoor Occupancy Sensor | SBOR-6-BZ-3V | N/A | N/A |  |  | #REF! | You need at least this many sensors that automatically calculate. Probably more. Sensors for batten fixtures are not automatically included.
Note on A3: GE User: New Construction: use dark bronze fixtures as standard. Retrofit/Remodel: Choose appropriate color to match existing poles/brackets. If color needed is not in the available colors listed, provide RAL color # that we should match to.
Note on A67: GE User: For surface mount canopy lights make sure to select the escutcheon plate size large enough to cover the existing opening. DO NOT mount surface mount fixture to existing extrusions. Demo the extrusions and mount fixture to canopy.
Note on A96: GE User: Fixtures come in bronze as a standard.
Note on A107: GE User: Floods are not typically used on new construction. Use on retrofit should be conservative. Make sure to order appropriate mounting hardware for your application.
Note on A136: GE User: Use combination of 8ft, 4ft, & 2ft types under store front entrance canopy with 8ft as primary. Fixtures connect together end to end. One leader cable needed per row. 3 mounting clips for 8ft fixture. 2 mounting clips needed for all other sizes. Also used in soffits.
Note on A149: GE User: Fixtures will mount directly to 2” nominal pipe if available. If not, choose appropriate tenon adapter if pole has a tenon. If no tenon, the preferred solution is to purchase a tenon reducer to mount to the top of the pole and the appropriate tenon adapter to go with it. If this is not possible, use the square or round pole arm adapter and choose desired color. If color needed is not in the available colors listed, provide RAL color # that we should match to.
Note on A207: GE User: Fixtures will mount directly to 2” nominal pipe if available. If not, choose appropriate tenon adapter if pole has a tenon. If no tenon, the preferred solution is to purchase a tenon reducer to mount to the top of the pole and the appropriate tenon adapter to go with it. If this is not possible, use the square or round pole arm adapter and choose desired color. If color needed is not in the available colors listed, provide RAL color # that we should match to.
GE Area Light
ERS1 & ERS2
GE Area Light
ALTERNATIVE FIXTURE
Used only when light trespass is highly restricted by ordinance
Evolve™ LED
Area Canopy Light
ECSA - Recessed
GE Canopy Light
ECBB
GE Wall Pack
EWS3
Philips BATTERY BACKUP Wall Pack
GE Gasketed Fixture
Gasketed Surface Mount
GS14
Tetra® PowerStrip
RULE OF THUMB: 1 module per sq. ft.
28 sq. ft. requires 28 Tetra LED Modules
GE Batten Fixture
GEWI
GE Flood Light - Wide & Spot
EFNA
Use only above rear egress door to retrofit an existing wall pack in that location
For use in Car Wash to replace pre-existing ceiling mounted fixtures.
GE Wall Pack
EWS3
For use in Car Wash to replace pre-existing wall mounted fixtures.
NOTE: Use 13,000 lumen fixture in circumstances where the 8,000 lumen fixture will not get us to 30 foot candle average under-canopy.
Order 2 Mounting Clips per batten
Order a jumper cable to continue a run around corners
Order 1 Leader Cable/Jumper Cable per 40 ft. run.
LED Replacement Lamps 6",8",10"
PAR38
Please reference GE Lighting Design when determining Parking Lot, Gas Canopy, and Wall Pack quantities.
Mounting Hardware
Order 2 suspension mounting bracket kits for each starter fixture, and 1 for each continuous fixture
color designation highlighted in RED
Tenon Adaptor
Tenon Reducers
Arm Adapter
Please reference GE Lighting Design when determining Parking Lot, Gas Canopy, and Wall Pack quantities.
Please reference GE Lighting Design when determining Parking Lot, Gas Canopy, and Wall Pack quantities.
Order signage product from Harbinger Sign.
Contact Liz Nicolet at Lnicolet@HarbingerSign.com or 972-905-9470
You must contact Harbinger Sign for these products
Whenever possible, the most common fixture or default fixture for the application is highlighted in blue.
17ft Square Pole
Occupancy Sensors ONLY required in California.
Order one sensor for each pole light, wall pack light, or 40 ft run of batten fixtures
Dimming capable fixtures with occupancy sensing. USED IN CALIFORNIA ONLY
Use only in California and in cities that require dimming
Used only when flush lights are requested by city ordinance
Dimming capable fixtures with occupancy sensing. USED IN CALIFORNIA ONLY
Use only in California and in cities that require dimming
ALTERNATIVE FIXTURE